## 1st sty
DIEPPE BARRACKS BLK 2 FIRE PROTECTION EQUIPMENT LIST
S/N | LOCATION |  | DESCRIPTION
|  | Repeater Panel | SAP-Sub Fire Alarm Panel | Floor Mimic Panel | Smoke Detector (Addressable) | Heat Detector | Manual Call Point | Alarm Bell | Strobe Light | 4kg Dry Powder Fire Extinguisher | Hosereel Drum with Cabinet | Stand By Hose | Stand By Hose Cabinet | Double Stand By Hose Cabinet | Landing Valve | Flow Switch | FM 200 Panel | Smoke Detector (Convertional) | Manual Release Button | Abort Switch | Horn (Sounder) | Breathing Apparatus | Zone Chart | Gas Discharge Signage | Evacuate Area Immediately Signage | Warning Sign | Pressure Switch | FM 200 Cylinder | Nozzle (360 degree) - Room Space | Nozzle (360 degree) - Above Ceiling | Nozzle (360 degree) Raised Floor | Control Valve | 2 Way Breenching Inlet | 4 Way Breenching Inlet | Hosereel Pump & Panel | Hosereel Water Tank
1 | #01-01 _ LT SWITCH ROOM |  |  |  | 1
2 | #01-02 _ NCR ROOM |  |  |  | 1 |  |  |  |  | 1
3 | #01-03 _ NCR ROOM |  |  |  | 1 |  |  |  |  | 1
4 | #01-05 _ NCR ROOM |  |  |  | 1 |  |  |  |  | 1
5 | #01-06 _ NCR ROOM |  |  |  | 1 |  |  |  |  | 1
6 | #01-07 _ OT SERVER ROOM | [6 empty] | 1 | 1 | [8 empty] | 2 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | 1
7 | #01-08 _ BATTERY ROOM | [6 empty] | 1 | 1 | [8 empty] | 2 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | 1
8 | #01-09 _ NCR (S) | [6 empty] | 1 | 1 | [8 empty] | 2 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | 1
9 | #01-10 _ NCR © | [6 empty] | 1 | 1 | [8 empty] | 2 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | 1
10 | #01-11 _ EVC/ELECT DB ROOM |  |  |  | 1 |  |  |  | 1
11 | #01-12 _ GROWTH | [7 empty] | 1
12 | LEVEL 1 RISER - ANCILLARY |  |  |  |  | 1
13 | LEVEL 1 RISER _ OT |  |  |  | 1
14 | LEVEL 1 RISER _ TEL |  |  |  | 1
15 | LEVEL 1 RISER _ UC-COMMS |  |  |  | 1
16 | LEVEL 1 RISER _ C-COMMS |  |  |  | 1
17 | LEVEL 1 RISER _ S-COMMS |  |  |  | 1
18 | LEVEL 1 RISER _ COMMS (NEAR ST1) |  |  |  | 1
19 | LEVEL 1 RISER _ COMMS (NEAR ST2) |  |  |  | 1
20 | LEVEL 1 _ MALE TOILET (T1-01) | [7 empty] | 1
21 | LEVEL 1 _ STAIR CASE 1 (ST1) |  | 1 | 1 | [7 empty] | 2 |  | 1 | 1
22 | #01-13 _ DC ROOM | [7 empty] | 1 | 2
23 | #01-14 _ DC ROOM | [7 empty] | 1
24 | #01-15 _ DC ROOM | [7 empty] | 1 | 4
25 | #01-16 _ DC ROOM | [8 empty] | 1
26 | #01-17 _ DC ROOM | [7 empty] | 1
27 | LEVEL 1 _ MALE TOILET (T1-02) | [7 empty] | 1
28 | LEVEL 1 RISER _ ELEC |  |  |  | 1
29 | LEVEL 1 _ STAIR CASE 2 (ST2) | [10 empty] | 2 |  | 1 | 1
30 | LEVEL 1 _ MALE TOILET (T1-03) | [7 empty] | 1
31 | LEVEL 1 _ FEMALE TOILET (T1-04) | [7 empty] | 1
32 | LEVEL 1 CORRIDOR |  |  |  |  | 1 | 4 | 4 | 4 | 5 | 4 |  |  |  |  | 1 | 4 |  | 4 | 4 |  | 4 | 4 | 4 |  | 4
| Total |  | 1 | 1 | 14 | 2 | 4 | 8 | 18 | 16 | 4 | 4 | 0 | 2 | 2 | 1 | 4 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2nd sty
DIEPPE BARRACKS BLK 2 FIRE PROTECTION EQUIPMENT LIST
S/N | LOCATION | DESCRIPTION
|  | Repeater Panel | Repeater Mimic Panel | Floor Mimic Panel | Smoke Detector (Addressable) | Heat Detector | Manual Call Point | Alarm Bell | Strobe Light | 4kg Dry Powder Fire Extinguisher | Hosereel Drum with Cabinet | Stand By Hose | Stand By Hose Cabinet | Double Stand By Hose Cabinet | Landing Valve | Flow Switch | FM 200 Panel | Smoke Detector (Convertional) | Manual Release Button | Abort Switch | Horn (Sounder) | Breathing Apparatus | Zone Chart | Gas Discharge Signage | Evacuate Area Immediately Signage | Warning Sign | Pressure Switch | FM 200 Cylinder | Nozzle (360 degree) - Room Space | Nozzle (360 degree) - Above Ceiling | Nozzle (360 degree) Raised Floor | Control Valve | 2 Way Breenching Inlet | 4 Way Breenching Inlet | Hosereel Pump & Panel | Hosereel Water Tank
1 | #02-01 _ GS & OPS OFFICE | [7 empty] | 1 | 2
2 | #02-02 _ OPS ROOM | 1 | 1 | [5 empty] | 2
3 | #02-03 _ TRAINING ROOM | [6 empty] | 1 | 1
4 | LEVEL 2 RISER _ ELEC 1 |  |  |  | 1
5 | LEVEL 2 _ MALE TOILET (T2-01) | [7 empty] | 1
6 | #02-04 _ INT BRANCH OFFICE | [7 empty] | 1
7 | #02-05 _ BRIEFING ROOM | [7 empty] | 1
8 | #02-06 _ R ROOM | [7 empty] | 1
9 | #02-07 _ STORE | [7 empty] | 1
10 | #02-08 _ CAMP OPS | [8 empty] | 1
11 | #02-09 _ LOG BRANCH OFFICE | [7 empty] | 1
12 | #02-10 _ SMC | [7 empty] | 1
13 | #02-11 _ INTERVIEW ROOM | [7 empty] | 1
14 | #02-12 _ INTERVIEW ROOM | [7 empty] | 1
15 | LEVEL 2 _ FEMALE TOILET (T2-02) | [7 empty] | 1
16 | LEVEL 2 RISER _ ELEC 2 |  |  |  | 1
12 | LEVEL 2 RISER - ANCILLARY |  |  |  |  | 1
13 | LEVEL 2 RISER _ OT |  |  |  | 1
14 | LEVEL 2 RISER _ TEL |  |  |  | 1
15 | LEVEL 2 RISER _ UC-COMMS |  |  |  | 1
16 | LEVEL 2 RISER _ C-COMMS |  |  |  | 1
17 | LEVEL 2 RISER _ S-COMMS |  |  |  | 1
23 | LEVEL 2 _ MALE TOILET (T2-04) | [7 empty] | 1
21 | LEVEL 2 _ STAIR CASE 1 (ST1) |  |  | 1 | [7 empty] | 2 |  | 1 | 1
29 | LEVEL 2 _ STAIR CASE 2 (ST2) | [10 empty] | 2 |  | 1 | 1
30 | LEVEL 2 _ FOYER+DROP OFF + CORRIDOR |  |  |  |  | 1 | 4 | 4 | 4 | 5 | 4 |  |  |  |  | 1 | [16 empty] | 2
| Total | 1 | 1 | 1 | 7 | 2 | 4 | 5 | 19 | 8 | 4 | 4 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0

## 3rd sty
DIEPPE BARRACKS BLK 2 FIRE PROTECTION EQUIPMENT LIST
S/N | LOCATION | DESCRIPTION
|  | SAP-Sub Fire Alarm Panel | Floor Mimic Panel | Smoke Detector (Addressable) | Heat Detector | Manual Call Point | Alarm Bell | Strobe Light | 4kg Dry Powder Fire Extinguisher | Hosereel Drum with Cabinet | Stand By Hose | Stand By Hose Cabinet | Double Stand By Hose Cabinet | Landing Valve | Flow Switch | FM 200 Panel | Smoke Detector (Convertional) | Manual Release Button | Abort Switch | Horn (Sounder) | Breathing Apparatus | Zone Chart | Gas Discharge Signage | Evacuate Area Immediately Signage | Warning Sign | Pressure Switch | FM 200 Cylinder | Nozzle (360 degree) - Room Space | Nozzle (360 degree) - Above Ceiling | Nozzle (360 degree) Raised Floor | Control Valve | 2 Way Breenching Inlet | 4 Way Breenching Inlet | Hosereel Pump & Panel | Hosereel Water Tank
1 | #03-01 _ NSMB | [6 empty] | 2 | 2
2 | #03-02 _ MEETING ROOM | [6 empty] | 2
3 | LEVEL 3 _ FEMALE TOILET (T3-01) | [6 empty] | 1
4 | #03-03 _ CGO OFFICE | [6 empty] | 1 | 1
5 | #03-04 _ DTD BRANCH OFFICE | [6 empty] | 1 | 1
6 | #03-05 _ PLAN BRANCH OFFICE | [7 empty] | 1
7 | #03-06 _ OOTW OFFICE | [7 empty] | 1
8 | #03-07 _ ANCILLARY OFFICE | [6 empty] | 1 | 1
9 | #03-08 _ CONFERENCE ROOM | [6 empty] | 1 | 1
10 | #03-09 _ WAITING ROOM | [6 empty] | 1
11 | #03-11 _ NCR ROOM |  |  | 1 |  |  |  |  | 1
12 | #03-12 _ NCR ROOM |  |  | 1 |  |  |  |  | 1
13 | #03-13 _ NCR ROOM |  |  | 1 |  |  |  |  | 1
14 | #03-14 _ NCR ROOM |  |  | 1 |  |  |  |  | 1
15 | #03-15 _ ANCILLARY OFFICE | [6 empty] | 1
16 | #03-16 _ MANPOWER BRANCH OFFICE | [6 empty] | 1 | 1
17 | LEVEL 3 _ MALE TOILET (T3-03) | [6 empty] | 1
18 | LEVEL 3 RISER - ANCILLARY |  |  |  | 1
19 | LEVEL 3 RISER _ OT |  |  | 1
20 | LEVEL 3 RISER _ TEL |  |  | 1
21 | LEVEL 3 RISER _ UC-COMMS |  |  | 1
22 | LEVEL 3 RISER _ C-COMMS |  |  | 1
23 | LEVEL 3 RISER _ S-COMMS |  |  | 1
24 | LEVEL 3 RISER _ ELEC 1 |  |  | 1
25 | LEVEL 3 RISER _ ELEC 2 |  |  | 1
26 | LEVEL 3 _ STAIR CASE 1 (ST1) |  | 1 | [7 empty] | 2 |  | 1 | 1
27 | LEVEL 3 _ STAIR CASE 2 (ST2) | [9 empty] | 2 |  | 1 | 1
28 | LEVEL 3 CORRIDOR |  |  |  | 1 | 4 | 4 | 4 | 5 | 4 |  |  |  |  | 1
29 | ROOF SPACE AREA |  |  | 1 | 1 | 2 | 2 | 2 | 6 | 2
| Total | 0 | 1 | 12 | 3 | 6 | 6 | 19 | 24 | 6 | 4 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Roof
DIEPPE BARRACKS BLK 2 FIRE PROTECTION EQUIPMENT LIST
S/N | LOCATION | DESCRIPTION
|  | SAP-Sub Fire Alarm Panel | Floor Mimic Panel | Smoke Detector (Addressable) | Heat Detector | Manual Call Point | Alarm Bell | Strobe Light | 4kg Dry Powder Fire Extinguisher | Hosereel Drum with Cabinet | Stand By Hose | Stand By Hose Cabinet | Double Stand By Hose Cabinet | Landing Valve | Flow Switch | FM 200 Panel | Smoke Detector (Convertional) | Manual Release Button | Abort Switch | Horn (Sounder) | Breathing Apparatus | Zone Chart | Gas Discharge Signage | Evacuate Area Immediately Signage | Warning Sign | Pressure Switch | FM 200 Cylinder | Nozzle (360 degree) - Room Space | Nozzle (360 degree) - Above Ceiling | Nozzle (360 degree) Raised Floor | Control Valve | 2 Way Breenching Inlet | 4 Way Breenching Inlet | Hosereel Pump & Panel | Hosereel Water Tank
1 | ROOF SPACE AREA |  |  | 1 | 1 | 2 | 2 | 2 | 6 | 2
2
3
| Total | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 6 | 2 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0